PUNCH LIST / SNAG LIST

Riyadh Tower B Fit-Out — Najd Interiors & Fit-out Co.

List Issue Date (Gregorian): 20-Jun-2026    |    Hijri: 05/01/1448 AH

| Item No. | Location | Description | Status | Date Raised (Greg. / Hijri) | Date Closed |
| --- | --- | --- | --- | --- | --- |
| PL-001 | Level 5 - Corridor | Ceiling tile misalignment near grid line C4 | CLOSED | 10-May-2026 / 23/11/1447 AH | 18-May-2026 |
| PL-002 | Level 5 - Office 5.12 | Paint touch-up required, wall scuff marks | CLOSED | 10-May-2026 / 23/11/1447 AH | 15-May-2026 |
| PL-003 | Level 6 - Pantry | Cabinet door hinge misaligned | OPEN | 12-May-2026 / 25/11/1447 AH | - |
| PL-004 | Level 6 - Corridor | Carpet seam visible near lift lobby | OPEN | 14-May-2026 / 27/11/1447 AH | - |
| PL-005 | Level 7 - Meeting Room 7.3 | AC diffuser not level, visible gap | OPEN | 20-May-2026 / 03/12/1447 AH | - |
| PL-006 | Level 7 - Reception | Reception desk laminate chip, front edge | CLOSED | 20-May-2026 / 03/12/1447 AH | 01-Jun-2026 |
| PL-007 | Level 8 - Open Office | Skirting board gap at column grid D6 | OPEN | 02-Jun-2026 / 16/12/1447 AH | - |
| PL-008 | Level 8 - Server Room | Raised floor tile squeak, 3 tiles near entrance | OPEN | 05-Jun-2026 / 19/12/1447 AH | - |
| PL-009 | Level 6 - Washroom (Male) | Sealant gap around sink counter | OPEN | 08-Jun-2026 / 22/12/1447 AH | - |
| PL-010 | Level 5 - Lift Lobby | Wall protection guard scratched, needs replacement | OPEN | 15-Jun-2026 / 29/12/1447 AH | - |
| PL-011 | Level 7 - Corridor | Light fixture flickering near grid F2 | OPEN | 18-Jun-2026 / 03/01/1448 AH | - |

Summary: 8 items OPEN, 3 items CLOSED, out of 11 total logged items.

List current as of Gregorian 20-Jun-2026 (Hijri 05/01/1448 AH).